| Voice Command List – PID M40 4-in-1 Voice Control |  |  |
| --- | --- | --- |
| Command | Code Action / Function | Description |
| Run mode | mainMenu.setCurrentMenu(RUN_INDEX); | Display real-time gas readings Main running page |
| Gas select | mainMenu.setCurrentMenu(GAS_MENU_INDEX); | Chose Gas |
| Set range | mainMenu.setCurrentMenu(RANGE_INDEX); | Configure measurement range |
| High alarm | mainMenu.setCurrentMenu(ALARM_INDEX); | Set high alarm threshold |
| Low alarm | mainMenu.setCurrentMenu(LOWALARM_INDEX); | Set low alarm threshold |
| Calibrate zero | mainMenu.setCurrentMenu(CAL_ZERO_INDEX); | Begin zero calibration |
| Calibrate span | mainMenu.setCurrentMenu(CAL_SPAN_INDEX); | Begin span calibration |
| Start calibration | menu.action(); (CalStartMenu) | Start calibration routine |
| Finish calibration | menu.action(); (CalResMenu) | Save calibration results |
| Set hour | mainMenu.setCurrentMenu(HOUR_INDEX); | Adjust system clock hour |
| Set minute | mainMenu.setCurrentMenu(MINUTE_INDEX); | Adjust system clock minute |
| Start logging | dataLogger->startFlashStoreSession(); | Start internal flash data logging |
| Stop logging | dataLogger->stopFlashStoreSession(); | Stop internal flash data logging |
| Wi-Fi dump (not implement) | dataLogger->startWiFiDumpSession(); | Start Wi-Fi data transfer |
| Stop Wi-Fi (not implement) | dataLogger->stopWiFiDumpSession(); | Stop Wi-Fi data transfer |
| Show time | mainMenu.setCurrentMenu(SHOWTIME_INDEX); | Display current date and time |
| Sync time | timeSync->startNTPSync(); | Synchronize clock via NTP |
| Up / Next | menu.moveToNext(); | Move to next menu item |
| Down / Previous | (custom decrement) | Move to previous menu item |
| Enter / Select | menu.action(); | Execute current selection |
| Back / Main menu | mainMenu.setCurrentMenu(0); | Return to top-level main menu |
| Sleep mode | sleepTimer->selectIntervalByIndex(X); | Enable sleep timer |
| Exit sleep | sleepTimer->disable(); | Resume active operation |